## List of Fixed Equipment
NTRL BSL3 LIST OF FIXED EQUIPMENT
FIXED EQUIPMENT
FLOOR | ROOM | NAME OF FIXED EQUIPMENT | QUANTITY | SPECIFICATIONS | ACTIONS
Second floor: National TB Reference Laboratory (NTRL) | BSL3 Laboratory Suite: NTRL (including anteroom) | Pass through autoclave | 1 |  | Assess to establish if repair or replacement is needed
|  | Extraction hood |  | Labconco Fumehood extractor Basic™ 70 Hoods without Motor and Blower (ducting and blower/extractor not included - to be included if necessary) | Install if needed
|  | Fan-duct system |  |  | Install if needed
|  | Storage cabinets for ante room |  |  | Procure and insatll relevant sizes as per the anteroom
|  | Coat hangers |  |  | Procure and install
| BSL2 Laboratory Suite: NTRL | Pass through autoclave |  |  | Service and repair
|  | Biosafety Cabinets | 10 |  | Assess and repair/replace supply and exhaust air filters and any other broken parts
|  | Walk-in chamber in incubator room |  | BINDER PRODUCT FEATURES • Relative humidity accuracy of ± 2.5% • Temperature accuracy of ± 1.5°C • Duct work for proper distribution of air • Highly insulated chamber panels with a U value of only 0.21 W/m2 K • LED lighting with motion detector High-quality chamber elements, made in Germany white, similar to RAL 9010, interior surfaces in stainless steel, 4 inch / 100 mm PU foam, U value: 0.21 W/m2 K Floor Floor overlay: chrome-nickel steel, pattern-rolled 5WL Surface load: 50,000 N/m2. Wheel load (rubber wheel): 1,000 N/4 cm2 Wheel load (steel wheel): Not suitable for steel wheels Door Hinged door (single leaf), door leaf: 4 inches Clear door opening dimensions: 900 mm x 2,000 mm Door version with press lever Viewing window, triple-insulated, fixed glass Clear dimensions of window: 370 mm x 370 mm. • Completely stainless steel interior • Exterior service access • 50 mm access port included, additional access ports available Specifications: Chamber elements Galvanized sheet steel, polyester-coated, | Procure and install
| Freezer room | AC |  |  | Assess and repair/replace any other broken parts and service
Microscopes area(WIthin BSL 2)
Reading area
| Documentation room | Staff working stations | 20 |  | Procure and install
| Clean Room PCR1 (AC) |  |  |  | Service the existing AC
| Specimen Prep PCR2 (AC) |  |  |  | Service the existing AC
| PCR3 (AC) |  |  |  | Service the existing AC
Decontamination and Glassware washing
| Media Preparation | Wall shelves |  | 5-Tier Heavy Duty Storage Shelf Storage Utility Rack Shelf w/Anti-tipping Device | Procure/install
|  | Fume chamber |  |  | Procure/install
|  | Glove holder/ rack that can hold three sets of gloves | 10 | Triple Glove Box Holder Wall Mount Glove Dispenser - 16.5 x 10 x 3.5 Inches | Procure/install
|  | Gown holding rack |  | SLINGSBY Classic Wall Mounted Coat Rail 396691 25 x 75 x 1500mm Silver | Procure/install
| media room | Air Conditioning |  |  | Repair/service
| Hallway between grids 3 and 7 (BSL 2 and (Documentation room and Toilets) | Notice board size 200*200cm. |  | Notice board size 200*200cm. | Procure
| Chemical store | Chemical storage cabinets | 2 | Labconco Protector Acid Storage Cabinet, 30″ Wide x 35″ Tall, 2 Doors | Procure/install
|  | Toxic flammable chambers | 2 | Labconco Protector Acid Storage Cabinet, 30″ Wide x 35″ Tall, 2 Doors | Procure/install
| Cleaners room | Storage cabinets | 1 | Extra Heavy-duty storage cabinet: Model 99DM – 78 Inch high. Cabinet with 1800 Lb capacity per shelf. All welded 14-gauge steel construction. Storage cabinet features a secure 3-point locking system with padlockable lever handle for added strength and security. See through expanded metal cabinet doors open 1800 for full access. Includes four 14-gauge reinforced shelves (welded corners & return bends for extra strength). Heavy duty cabinets shelves have 1800 lb. Capacity per shelf and adjust at 2- ½” increments. Power coat gray finish. | Procure/install
|  | Personal cabinet |  |  | Procure/install
| Office and support areas | Notice board | 1 | Notice board size 200*200cm. | Procure/install
|  | Lockable cabinets and shelves | 4 | The 2-Door Fully Glass Metallic Cabinet is a versatile, contemporary piece of furniture that balances style and function. Perfect for storing files, office supplies, or decorative office items. | Procure/install
| Toilets: male and female | 20 lockers |  |  | Repair
|  | Shoe rack |  |  | Procure/install
|  | Toilet paper holders in each toilet |  | Smarlean Commercial Silk series soap dispenser and paper dispenser | Procure/install
| Special WC toilet | Remove shower
|  | Supporting rails for the Special WC |  |  | Procure/install
|  | Toilet paper holder |  | Smarlean Commercial Silk series soap dispenser and paper dispenser | Procure/install
| Toilet Extension corridor | 9 locker steel office cabinets | 3 | Ventilation slot ample storage and durable | Procre and install
First Floor: National Virology Reference Laboratory (NVRL) | BSL2 Laboratory Suite: NVRL | Pass through autoclave |  |  | Service and repair, ensure that it is connected to a reliable source of water
| Special WC toilet | Supporting rails for the Special WC |  | Bathroom Grab Swing Up Bar Safety Rail Stainless Steel, 30" | Procure and install
| Toilets: male and female | Toilet paper holders in each toilet |  | Smarlean Commercial Silk series soap dispenser and paper dispenser
Ground Floor: | Specimen receiving Room | 4ft BSC |  | Telstar Bio II Advance Plus 4 Biological Safety Cabinet Bio Advance 1.2M Internal dimension: 1259x602x580 Vibration: < 0.005 Extraction flow rate: 0.55 / 402 Microprocessor control with filter-loading-self-compensation The 10° sloped front window | Procure and install
|  | Lab coat hanger |  | SLINGSBY Classic Wall Mounted Coat Rail 396691 25 x 75 x 1500mm Silver | Procure and install
Third Floor | Covered terrace/staff break room | Hand washing sink |  | Krowne HS151 15 in DropIn Hand Sink with Faucet | Procure and install
Basement Level | NTRL Store | Document archival racks | 4 | Heavy Duty Warehouse Storage Rack - L2mxW60cmxH: Made from durable and sturdy materials to support heavy loads: 2m height: Provides ample vertical storage space for efficient organization: 4-tier laminated metal shelving unit: Offers multiple shelves for storing various items: Easy assembly: Comes with detailed instructions and necessary hardware for quick setup: Durable finish: Resistant to rust, corrosion, and other forms of damage. | Procure
| NTRL Store 2 | Document archival racks | 4 | Heavy Duty Warehouse Storage Rack - L2mxW60cmxH: Made from durable and sturdy materials to support heavy loads: 2m height: Provides ample vertical storage space for efficient organization: 4-tier laminated metal shelving unit: Offers multiple shelves for storing various items: Easy assembly: Comes with detailed instructions and necessary hardware for quick setup: Durable finish: Resistant to rust, corrosion, and other forms of damage. | Procure
| Cold room 2: NTRL | Switch | 1 |  | Replace
|  | Control panel | 1 |  | Replace
|  | Data logger | 1 |  | Install
|  | 3-phase switch | 1 |  | Install
External |  | Glass grinder | 1
Note on B10: ====== ID#AAABcoVKMu4 Nelly Mukiri (2025-02-04 20:03:34) Staked shelves with storage shelves: Extraction hood at the staining area:
Note on B26: ====== ID#AAABcoVKMu8 Nelly Mukiri (2025-02-04 20:27:03) Staked shelves with storage space
Note on C24: ====== ID#AAABcoVKMus Nelly Mukiri (2025-02-04 19:56:45) Storage racks to be fixed and installed ------ ID#AAABcoVKMuw Nelly Mukiri (2025-02-04 19:58:00) Gown holding racks- procure fix and install. ------ ID#AAABcoVKMu0 Nelly Mukiri (2025-02-04 19:59:49) Glove holder: